## Plan1
| Itens | Quantidade
1 | CD de instalação do LabVIEW | 1
2 | CD (1/2, 2/2) NI SignalExpress 1.0 (National Instruments) | 1
3 | Data Acquisition ADAM - 4012 | 1
4 | Data Acquisition ADAM - 4013 | 1
5 | Data Acquisition ADAM - 4018 | 1
6 | Data Acquisition ADAM - 4021 | 2
7 | Data Acquisition ADAM - 4052 | 1
8 | Data Acquisition ADAM - 4060 | 1
9 | Data Acquisition ADAM - 4520 | 2
10 | Controlador Programável TP02-28MR (WEG) | 1
11 | Data Acquisition: ACL-812PG | 1
12 | Data Acquisition: ACLD-782 16 Channel Opto-Isolated Digital Input Board | 1
13 | Fonte Linear 24V SR/2003 | 1
14 | Intelitek - Rotary Table 24V - Cat.#001009 Rev. A | 1
15 | LabVIEW7Express (User Manual, Getting Started with LabVIEW) | 1
16 | Material hidráulico para bancadas | -
17 | Model PCLD-786 AC/DC Power SSR&Relay Driver Board | 1
18 | Módulos PCA - 6157 Bare - AIO (Full) Pentium PCI CPUCard W/O | 5
19 | NI-DAQmx Base (for windows 2000/XP) - CD | 1
20 | NI-DAQ7 (DAQ Quick Start Guide) | 1
21 | NI-PCI6251 | 1
22 | Opt002 PCL- 718/812/002 - PC-LabCard - ING Board&Accessories | 1
23 | PCL-726 - 6 Channel D/A Output Card | 1
24 | PCL - 745B: 2 Port Isolated RS-422/ RS-485 Card | 1
25 | PCL-812PG - Multilab Analog and Digital I/O Card | 1
26 | PCL-848: User's Manual com a placa | 1
27 | PCLD-779: Isolated Relay Multiplexer and Amplifier Board | 1
28 | PCLD-785B 24/16 Channel Relay Output Board | 1
29 | Placa de Aquisição NI (8 inputs, 14 bits, Multifunction I/O) - Model: USB-6009 | 5
30 | Technosoft: MCK240Motion Control Kit (DSP TMP320F240PQ F20-7AA64RW) | 1